Service Report

| Company: | University of Michigan |
| --- | --- |
| Date: | 17/3/06 |
| Service Engineer: | J. Smith, M. Stevens |
| Details: | The fault with this system has been traced to failure of the memory card on the motherboard. Once this card was replaced, the system operated correctly. A new case lid has been fitted to the system in order to improve system cooling. |

Signed: