Service report from Roche Basle March 2006

Send CD

Send Notebooks

Send Quote for 1 ASSO visit for Fluidigm

- Joerg reported that V arm had gone too low in recent MB experiment.

- V ran at 1.6 OK.  (1.0 = 25 mm/s)

- Two-bore collet was sticking in top hat.  Removed bur in top hat.