Installing Extended Screening for Hanging Drop
2019-06-12

To cater for the mirrored dispensing of the SwissCI Hanging Drop Seal, it has been necessary to make some corrections to Wasp and WaspRun, but in particular, to the JSGroup.ocx ActiveX. So the updating of the release is a bit more complicated than usual:
1.	Install the Release (V.25.06.0760) from the CD or website
2.	Copy from the CD or web site...\Late Breaking\HD Extensions For SwissCI Seal\Front Panel.exe and ...\Late Breaking\HD For SwissCI Seal Extensions\FP Version Record.txt to the Front Panel folder in ...\Douglas Instruments
3.	Copy Wasp.exe, WaspRun.exe, JSGroup.ocx, VersionInfo.txt to the Wasp folder in ...\Douglas Instruments
4.	Run cmd (as Administrator) from the Windows Start  menu; enter		regsvr32 "C:\Program Files (x86)\Douglas Instruments\Wasp\JSGroup.ocx"     (with the quotes around the file name, as there are spaces in the path).
5.	Run Experiments 10.00.0038.exe
6.	Run Front Panel to set default directories and set hardware values for WaspRun
7.	Run WaspRun
All 4Ingredient based experiments have been updated to use the new HD mechanism, although it currently does not make sense to do Two Protein or Three Protein experiments with the Seal, as there is only one drop position defined.